BUDGET QUOTATION

CQU Rockhampton TAFE Consolidation - Stage 2

Hydraulic Services

| Date | Thursday 24 April, 2026 | Quote # | 2376 |
| --- | --- | --- | --- |
| Prepared For | Estimator | Attention | Estimator |
| Project | CQU Rockhampton TAFE Consolidation - Stage 2 | Site Address | 554/700 Yaamba Road, Norman Gardens QLD 4701 |
| Tender Basis | Lump Sum D&C - subject to clarifications herein | Validity | 30 days from proposal date |
| Submission Type | Hydraulic Services Tender Proposal |  |  |

Dear Estimator,

Please find enclosed our tender proposal for the above-mentioned project. This quotation is based on receipt and review of the issued design and construct hydraulic specification, hydraulic drawings, relevant architectural drawings, furniture/fittings/equipment schedule information and project correspondence to date.

# Tender Value

| Description | Basis | Amount |
| --- | --- | --- |
| Tender Value | Excluding GST | $3,963,645.73 |
| GST | 10% | $396,364.57 |
| Tender Value | Including GST | $4,360,010.30 |

Tender value is submitted as a lump sum excluding GST and is subject to the inclusions, exclusions, clarifications, provisional sums and allowances stated in this proposal.

# Description of Proposed Services and Scope of Works

Design and construction of Hydraulic Services for the following project areas:

Building ROK092 - New Trades Building, new construction.

Building ROK021A - Engineering Workshop, new shed and refurbishment of existing shed.

Building ROK019 - Level 3 refurbishment.

Building ROK033 - Refurbishment of Levels 1 and 2.

Building ROK034 - Amalgamation and refurbishment of two rooms on Ground Level.

Building ROK036 - Refurbishment of Ground Level and Level 1.

Building ROK076 - Horticulture facilities including new sheds and greenhouse/horticulture areas.

The proposal includes hydraulic services design development, supply, installation, testing, commissioning, certification, handover and defects liability obligations necessary to deliver the included hydraulic services scope. Fire hydrant and fire hose reel services associated with the hydraulic services package are included. Electrical fire, dry fire, extinguishers and sprinklers are excluded.

# Drawing and Documentation Packages

WSP Hydraulic Specification PS229518-HY-SPC-0001_A, February 2026, issued for D&C Tender.

Issued hydraulic drawing package for Buildings ROK092, ROK021A, ROK019, ROK033, ROK034, ROK036 and ROK076.

Issued architectural drawings and room layouts to the extent necessary for hydraulic set-out, fixture locations, service interfaces and refurbishment extents.

Issued fire/hydraulic information only to the extent it relates to fire hydrants, fire hose reels and their associated hydraulic services.

Furniture, fittings and equipment information only to the extent it identifies hydraulic fixtures, sanitary fixtures, tapware, drinking water units and plumbing equipment included in this proposal.

# Work Area Pricing Summary

The following work area pricing is provided for tender review and coordination purposes. Amounts are included within the lump sum tender value and are excluding GST.

| Code | Work Area / Item | Amount ex GST |
| --- | --- | --- |
| ROK092 | New Trades Building - Hydraulic Services | $1,191,208.26 |
| ROK021A | Engineering Workshop - Hydraulic Services | $84,709.94 |
| ROK019 | Building 19 Level 3 - Hydraulic Services | $228,007.43 |
| ROK033 | Building 33 Levels 1 and 2 - Hydraulic Services | $453,156.24 |
| ROK034 | Building 34 Ground Floor - Hydraulic Services | $79,811.11 |
| ROK036 | Building 36 Ground and Level 1 - Hydraulic Services | $1,179,264.65 |
| ROK076 | Horticulture Facilities - Hydraulic Services | $283,264.10 |
| DESIGN | Hydraulic Design | $153,440.00 |
| PSUM/ALLOW | Provisional Sums and Tender Allowances | $310,784.00 |

| ROK092 in-ground services allocation | $554,891.29 ex GST |
| --- | --- |
| Basis | Drainage, water and hydrant/hose reel hydraulic services infrastructure, plant interfaces, excavation, bedding, backfill, compaction and associated machinery/plant allowance. This is included within the ROK092 complete building price and is not an additional cost. |

## Temporary Services Allowances Included

The following temporary hydraulic services allowances are included in the building values above. Allowance is limited to typical connection materials and hydraulic connections for construction amenities, drinking fountains and similar temporary connection points. Supply of temporary fixtures, fountains, pumps, tanks or appliances is excluded unless specifically scheduled otherwise.

| Code | Temporary services allowance included | Amount ex GST |
| --- | --- | --- |
| ROK092 | Typical construction temporary hydraulic services connection materials and connections. | $8,620.00 |
| ROK021A | Typical construction temporary hydraulic services connection materials and connections. | $500.00 |
| ROK019 | Typical construction temporary hydraulic services connection materials and connections. | $3,840.00 |
| ROK033 | Typical construction temporary hydraulic services connection materials and connections. | $3,840.00 |
| ROK034 | Typical construction temporary hydraulic services connection materials and connections. | $500.00 |
| ROK036 | Typical construction temporary hydraulic services connection materials and connections. | $3,840.00 |
| ROK076 | Typical construction temporary hydraulic services connection materials and connections. | $500.00 |
| TOTAL | Temporary hydraulic services allowances included in the tender value. | $21,640.00 |

# Hydraulic Design

Hydraulic design is included within this proposal at $153,440.00 excluding GST.

Design inclusions comprise IFC/council submission support, hydraulic calculations, schematics, details, design refinement, equipment selection and as-constructed design documentation for the included hydraulic services scope.

Professional indemnity/design insurance for the hydraulic design component is to be carried by the engaged hydraulic consultant. TriCore carries construction, coordination and submission obligations for the included scope.

Development of fully coordinated multidisciplinary penetration plans is excluded. Hydraulic penetration sizes, locations, mark-ups and service information required for the coordination process are included for our scope.

# Noted Inclusions: Hydraulic Services

Project-specific preliminaries, mobilisation, supervision, safety, environmental, quality, project management and coordination associated with the included hydraulic services scope.

Design development and coordination required to complete the hydraulic services design intent, including hydraulic calculations, final equipment selections, shop drawings, technical submissions and as-constructed documentation.

Sanitary/sewer drainage systems, including venting, floor wastes, inspection openings, supports, testing, commissioning and sundry items necessary to complete the installation.

Stormwater and roof/balcony drainage where documented under the hydraulic package, including outlets, pits, overflow provisions and connections.

Domestic cold water systems, including pipework, valves, backflow prevention, cold water meters where included, isolation valves, fixture connections and associated supports and sundries.

Domestic hot water and warm water systems, including water heaters, tempering/thermostatic mixing valves, hot water insulation, safe trays, relief discharge pipework and hot water circulating pumps where documented.

In-wall domestic water rough-ins are allowed as PEX. Mains and remaining domestic water services are allowed as copper unless otherwise detailed in the take-off or final design.

Gas reticulation where documented, including pipework, regulators, isolation, appliance connections, local shut-off components and hydraulic scope safety components.

Trade waste drainage and treatment devices where documented, including grease treatment, oil/water separation, neutralisation, washdown/trade waste interfaces and associated controls/pumps where carried in the scope.

Rainwater harvesting/re-use systems where documented, including tanks, pumps, filters, controls, mains diversion, level controls and commissioning.

Fire hydrant and fire hose reel hydraulic services only, including associated pipework, valves, valve boxes/chambers, cabinets, supports, monitored isolating valve hardware where nominated, thrust blocks, protective wrapping, flushing, testing and certification.

Third-party Form 72 testing/certification to each building where fire hydrant and/or fire hose reel works are installed.

Compaction testing to all in-ground installations included within our scope.

Hot water units are included in building prices. Boiling/chilled/hot water units are included within the fixture supply allowance where scheduled.

Pumps, tanks and treatment plant specifically costed in the building packages are included in the relevant building price unless separately nominated as a provisional sum.

Temporary services allowance includes typical supply/install connection materials only for amenities, drink fountains and similar temporary connections required to suit the application of works at each building.

Hydraulic fixtures, sanitary fixtures, tapware and plumbing equipment as scheduled in Appendix A. Non-hydraulic FF&E items are excluded.

Testing, commissioning, certification, training, as-built drawings, O&M manuals, warranties and 12-month defects liability obligations applicable to the installed hydraulic services.

# Building-Specific Scope Clarifications

| Building | Clarification |
| --- | --- |
| ROK019 | Level 3 refurbishment hydraulic works included. Access below Level 2 ceiling is assumed by clear builder access during normal working hours. Existing drainage cap/seal/removal allowed only as required for the documented hydraulic scope. Existing cold water booster pumpset replacement is carried as a named provisional sum. |
| ROK033 | Levels 1 and 2 refurbishment works included. Ground floor generally remains unless directly affected by service tie-ins. Lift pit item carried as sump/pump-out point only unless a pump is later instructed. Dark room neutralisation/RPZD item is carried as a named provisional sum. |
| ROK036 | Ground Level is not treated as fixture replacement only. Documented in-ground, in-wall and above-ground services to training kitchen, bar, laundry, hair/beauty and amenities are carried. Lift sump and trade waste treatment requirements are included to the tender basis and allowances stated. |
| ROK076 | Prefabricated amenities are by others. TriCore allowance is to connect and commission only. Certification and responsibility for prefab internal plumbing remains by others. |
| ROK092 | New Trades Building includes major in-ground drainage, water and hydrant/hose reel hydraulic services, sanitary/trade waste treatment, rainwater and pump station interfaces. Existing sewer pump station relocation is carried as a named provisional sum. |

# Hydraulic Fixtures and Equipment Allowance

The following building-level fixture allowance is included within the tender value. This schedule includes hydraulic/plumbing items only. Non-hydraulic FF&E items such as grab rails, baby change tables, mirrors, robe hooks, loose furniture, curtain rails, furniture and salon/shampoo lounge chair components are excluded unless specifically identified as a plumbing component.

| Project Code | Work Area | Included Fixture Allowance ex GST |
| --- | --- | --- |
| ROK092 | New Trades Building | $86,981.51 |
| ROK021A | Engineering Workshop | $2,894.14 |
| ROK019 | Building 19 Level 3 | $15,642.67 |
| ROK033 | Building 33 Levels 1 and 2 | $46,501.03 |
| ROK034 | Building 34 Ground Floor | $8,290.53 |
| ROK036 | Building 36 Ground and Level 1 | $89,686.43 |
| ROK076 | Horticulture facilities | $33,192.94 |
| TOTAL | Hydraulic fixtures and equipment allowance | $283,189.25 |

A no-pricing hydraulic fixture and equipment register is included in Appendix A for quantity and coordination reference. Final handed orientation, dimensions, colours and any tender-schedule review items are to be confirmed prior to procurement and order release.

# Provisional Sums and Tender Allowances Included

The following named provisional sums and tender allowances are included in the tender value. Allowances are subject to final design resolution, site confirmation and builder/consultant direction where applicable.

| Building | Type | Item | Amount ex GST | Basis / Proposal Note |
| --- | --- | --- | --- | --- |
| ALL | Provisional Sum | Cold water meters to each building only | $12,250.00 | Cold water only. AMR, BMS, metering head-end/software and authority reconfiguration excluded. |
| ROK092 | Provisional Sum | Existing sewer pump station relocation/reinstatement | $72,500.00 | Locate, assess, relocate and reinstate existing pump station away from new Trades Building footprint. Provisional duty, size, specification and panel. |
| ROK019 | Provisional Sum | Existing cold water booster pumpset replacement | $16,850.00 | Supply and installation. Provisional duty, size, specification and panel. Basis: Grundfos Hydro Solo-E CRIE 10-5 type unit, 40mm connections. |
| ROK033 | Provisional Sum | Dark room neutralisation box and RPZD allowance | $5,890.00 | No detail issued. Provisional 100mm waste point and 20mm RPZD allowance. |
| ROK019 | Allowance | Acoustic lagging | $4,680.00 | Lump sum allowance as/if required. |
| ROK033 | Allowance | Acoustic lagging | $15,030.00 | Lump sum allowance as/if required. |
| ROK036 | Allowance | Acoustic lagging | $31,140.00 | Lump sum allowance as/if required. |
| ROK092 | Allowance | Acoustic lagging | $48,240.00 | Lump sum allowance as/if required. |
| ROK092 | Allowance | Additional drainage articulation | $10,416.00 | Lump sum allowance as/if required. Limited to swivel/expansion provisions entering the building footprint. |
| ROK021A | Allowance | Additional drainage articulation | $1,344.00 | Lump sum allowance as/if required. Limited to swivel/expansion provisions entering the building footprint. |
| ROK034 | Allowance | Additional drainage articulation | $672.00 | Lump sum allowance as/if required. Limited to swivel/expansion provisions entering the building footprint. |
| ROK036 | Allowance | Additional drainage articulation | $21,168.00 | Lump sum allowance as/if required. Limited to swivel/expansion provisions entering the building footprint. |
| ROK076 | Allowance | Additional drainage articulation | $4,368.00 | Lump sum allowance as/if required. Limited to swivel/expansion provisions entering the building footprint. |
| ROK019 | Allowance | Core hole cutting | $9,072.00 | Lump sum allowance as/if required. Based on approximate 130mm depth. Slab scanning and structural approvals excluded. |
| ROK033 | Allowance | Core hole cutting | $9,504.00 | Lump sum allowance as/if required. Based on approximate 130mm depth. Slab scanning and structural approvals excluded. |
| ROK019 | Allowance | Passive fire collars / service penetration sealing | $15,120.00 | Lump sum allowance as/if required to hydraulic service penetrations. |
| ROK033 | Allowance | Passive fire collars / service penetration sealing | $15,840.00 | Lump sum allowance as/if required to hydraulic service penetrations. |
| ROK036 | Allowance | Passive fire collars / service penetration sealing | $7,200.00 | Lump sum allowance as/if required to hydraulic service penetrations. |
| ROK092 | Allowance | Passive fire collars / service penetration sealing | $7,200.00 | Lump sum allowance as/if required to hydraulic service penetrations. |

# Demolition, Isolation and Access Basis

Included: isolate, make safe, disconnect, cap and seal, and remove redundant hydraulic services within the documented work areas where required to complete the new works.

Included: demolition/removal of hydraulic fixtures and services only as shown on the architectural/hydraulic drawings or directly required by the included scope.

Excluded: access, repairs and reinstatement to existing ceilings, ceiling tiles, walls, linings, joinery, waterproofing, tiling, painting and architectural finishes, except direct passive fire stopping and service penetration sealing expressly carried in our scope.

Excluded: demolition and reinstatement of existing concrete, asphalt, pavements, pavers, gardens, landscaping, kerbs, hardstand and external surfaces associated with below-ground service installations.

Access to underslung services is assumed via suitably sized scissor lift and/or builder-supplied scaffold, with clear access and work fronts provided by the builder.

Work is based on normal working hours unless otherwise agreed in writing. Restricted access, staged access delays, after-hours shutdowns or multiple remobilisations outside the tender basis are excluded.

# Exclusions / Notes: Hydraulic Services

Electrical fire and dry-fire systems are excluded, including FIP/FDCIE/EWIS, detectors, MCPs, WIPs, speakers, bells, VADs, ASD, fibre, networking, fire alarm cabling, terminations, programming and cause/effect.

Portable extinguishers, fire blankets, portable signage and all sprinkler systems are excluded, including sprinkler pipework, heads, valves, tank-fill controls and sprinkler controls.

Existing services locating, protection, support, relocation, impact management, diversions, unknown depths/levels and works arising from undocumented service clashes are excluded unless specifically scheduled as a named allowance.

Vacuum excavation is excluded.

Site-wide water, sewer, stormwater or fire system testing, reconfiguration, augmentation or authority-driven upgrade beyond the documented scope and named allowances is excluded.

AMR/BMS/electronic/smart metering systems, meter head-end/software, BMS graphics, programming, trending, alarming and integration are excluded beyond local equipment terminals/contacts where included.

Cold water meters are carried to each building only as a provisional sum. AMR/metering system components are excluded.

Development of coordinated multidisciplinary penetration plans is excluded. Hydraulic penetration inputs, sizes and mark-ups for our scope are included.

Slab scanning/x-ray, structural approvals for coring and remedial works arising from concealed structural/services conditions are excluded. Core hole cutting allowance is included only as scheduled.

Drainage articulation is included as swivel/expansion entering the building footprint only. Strapping to slab and expansion treatment to every riser are excluded unless later directed and priced.

Builder’s works in connection, architectural openings, access panels, hatches, cupboards/recesses, plinths, slabs, bollards, plant screens, roof works, gutters, downpipes and waterproof membranes are excluded unless specifically noted as included.

Contaminated material, asbestos, PASS, rock, unsuitable material, heavy groundwater/dewatering and any associated treatment/disposal/replacement costs are excluded.

Traffic and pedestrian management, permits, paid parking, security escorts and stakeholder access controls are excluded unless expressly noted as included.

Third-party surveyor engagement for set-out, ADAC or survey-as-constructed documentation is excluded unless expressly stated otherwise.

Supply of temporary fixtures, fountains, pumps, tanks or temporary appliances is excluded. Temporary service allowance is limited to typical connection material only.

Supply, certification and responsibility for ROK076 prefab amenities internal plumbing is by others. TriCore includes connection and commissioning only.

Any post-tender scope growth, redesign of other disciplines, changes arising from final room layouts, equipment changes, authority comments, certifier requirements or undocumented existing conditions are excluded unless instructed and valued as a variation or covered by a named provisional sum.

# Conditions

Title of all works, including consumables, remains the property of TriCore Plumbing Services Pty Ltd until payment has been received in full.

Prices are based on completion of works in a logical sequence with reasonable clear access and coordinated work fronts provided by the builder.

Due to supply/manufacturer price securement and procurement requirements, reasonable claim may be made for major project materials procured and delivered to site or otherwise secured for the project.

Extension of time and associated costs may apply for wet weather, latent conditions, design changes, authority changes, restricted access, shutdown constraints, public holidays, Christmas shutdown, third-party interruption or circumstances outside TriCore control.

We invite you to please contact our office or myself should you require further information regarding this quotation.

Sincerely,

Mitch Hannan

__________________

Mitch Hannan

TRICORE PLUMBING SERVICES PTY LTD

ABN 9 620 147 935

QBCC 15100514

PO Box 7081 Hemmant Q 4174

Tel. 07 3390 5803

tricoreplumbing.com.au

# Appendix A - Hydraulic Fixture and Equipment Register

The following register identifies hydraulic fixtures, sanitary fixtures, tapware and plumbing equipment included in the tender allowance.

| Building | Qty | Code | Description / Basis | Status |
| --- | --- | --- | --- | --- |
| ROK092 | 6 | BN11A | Britex hand wash trough 1200mm with 3 bib taps and brackets |  |
| ROK092 | 1 | BN13A | PWD pre-plumbed wash trough, final length/tap arrangement to be confirmed before order | Final confirmation required |
| ROK092 | 1 | HY6A | Compact wall hung drinking fountain with bottle filler |  |
| ROK092 | 3 | HY7A | Round refrigerated drinking fountain with bottle filler |  |
| ROK092 | 1 | SK18B | Accessible single bowl sink, handed orientation to suit final layout |  |
| ROK092 | 1 | SNA1 | Accessible 1.5 bowl sink, handed orientation to suit final layout |  |
| ROK092 | 1 | SR17A | Wall mounted hand-operated emergency eye wash |  |
| ROK092 | 4 | SR1A | Emergency shower and eye/face deluge unit |  |
| ROK092 | 1 | TPA/TW20A | Accessible sink mixer / care handle mixer to final schedule confirmation | Final confirmation required |
| ROK092 | 4 | TW3A | Hose cock / bib tap to documented locations |  |
| ROK092 | 4 | WT30A | Custom stainless steel water trough / quench trough |  |
| ROK092 | 1 | ZIP2 | Zip HydroTap boiling/chilled water unit |  |
| ROK021A | 1 | BN11D | Britex hand wash trough 900mm with 2 bib taps and brackets |  |
| ROK019 | 1 | BN15B | Accessible wall basin with shroud |  |
| ROK019 | 1 | BN35A | General amenities inset basin |  |
| ROK019 | 1 | SR8A | Liano II rail shower / shower set |  |
| ROK019 | 1 | TP1 | Accessible basin mixer with care handle |  |
| ROK019 | 1 | TW4A | Zip HydroTap boiling/chilled water unit with font kit |  |
| ROK019 | 1 | TW9A | Wall mounted amenities basin mixer |  |
| ROK019 | 1 | UR2A | Electronic urinal fit-out and rough-in kit |  |
| ROK019 | 1 | WC2A | Accessible toilet suite with backrest |  |
| ROK019 | 1 | WC3G | General / ambulant wall-faced close-coupled toilet suite |  |
| ROK033 | 1 | BT8D | Dark room custom stainless steel bench and trough package |  |
| ROK033 | 1 | BT8D-LPTI | Inset photo trough component linked to dark room bench package | Final confirmation required |
| ROK033 | 1 | SR2A | Fixed enclosed bunded platform for safety shower |  |
| ROK033 | 1 | TW6A | Dark room wall mounted mixing set |  |
| ROK034 | 1 | ZIP3 | Zip HydroTap boiling/chilled water unit |  |
| ROK036 | 1 | BN11B | Hairdressing handwash basin with shroud |  |
| ROK036 | 1 | BN22A | Knee-operated stainless steel handwash basin with tempering valve |  |
| ROK036 | 1 | BN5 | Beauty studio / hairdressing over-counter basin | Final confirmation required |
| ROK036 | 1 | BT50A | Custom stainless steel sink bench - hospitality/bar |  |
| ROK036 | 1 | BT50B | Custom stainless steel sink bench - hospitality/bar |  |
| ROK036 | 1 | BT55A | Custom stainless steel multi-sink bench - training kitchen |  |
| ROK036 | 1 | BT8G | Custom stainless steel sink bench - training kitchen |  |
| ROK036 | 1 | BT9H | Custom stainless steel sink bench - hospitality/bar |  |
| ROK036 | 1 | HWL | Statesman shampoo unit / plumbing portion only; lounge chair excluded |  |
| ROK036 | 1 | SK25A | Urbane II 70L laundry tub |  |
| ROK036 | 1 | SK29B | Custom stainless steel sink bench - scullery area |  |
| ROK036 | 1 | SK5 | Urbane II 45L flushline tub |  |
| ROK036 | 1 | SK5A | Monaco undermount single bowl sink |  |
| ROK036 | 1 | SK9D | Cleaners sink with wall brackets |  |
| ROK036 | 1 | TM1A | Basin mounted mixer |  |
| ROK036 | 1 | TP2 | Hose cock / bib tap |  |
| ROK036 | 1 | TW10A | Liano II sink mixer |  |
| ROK036 | 1 | TW30A | Laundry sink mixer |  |
| ROK036 | 1 | TW36A | Training kitchen sink mixer |  |
| ROK036 | 1 | TW5C | Pre-rinse spray wall mounted dual mixer |  |
| ROK036 | 1 | TW60A | Pull-out sink mixer - bar/hospitality |  |
| ROK076 | 1 | BT9A | Horticulture L-shaped stainless steel bench with sinks |  |
| ROK076 | 1 | HW2B | Stainless steel wall basin with brackets |  |
| ROK076 | 1 | SK18A | Accessible single bowl sink |  |
| ROK076 | 1 | SK20A | Stainless steel wash tub / bench with integral sink |  |
| ROK076 | 1 | TW17A | Basin mounted lever mixer |  |
| ROK076 | 1 | TW2A | Cleaners / horticulture wall mounted sink set and mixer |  |

Notes: Final handed orientation, colour, mounting arrangement and any items marked for final confirmation are to be confirmed prior to procurement. Non-hydraulic FF&E items are excluded unless expressly identified as a plumbing component.